# GRADE 10 BUILDING CONSTRUCTION SCHEME OF WORK — TERM 3

Reference Material: Grade 10 Building Construction Curriculum Design (KICD 2025)

| WK | LSN | STRAND | SUB-STRAND | SPECIFIC LEARNING OUTCOMES | LEARNING EXPERIENCES | KEY INQUIRY QUESTIONS | LEARNING RESOURCES | ASSESSMENT METHODS | REF |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | Building Construction Processes | Ground Floors | By the end of the lesson, the learner should be able to: a. Identify types of ground floors used in buildings b. Differentiate between solid ground floors and suspended ground floors using the Building Code c. Relate floor type selection to real life the way a shoe sole is chosen based on terrain and weather conditions | • Search print or digital media for information on types of ground floors (solid and suspended ground floors) • Use the Building Code to discuss requirements for ground floor construction • Create a comparison table contrasting solid ground floors and suspended floors | How are ground floors classified and constructed in buildings? | • Grade 10 Building Construction Curriculum Design • Building Code • Digital devices • Charts | • Oral questions • Written assignments • Observation |  |
|  | 2 | Building Construction Processes | Ground Floors | By the end of the lesson, the learner should be able to: a. Describe the components of a solid ground floor b. Explain the function of hardcore, blinding, damp proof membrane (DPM), BRC mesh, and floor slab c. Connect layered floor components to real life the way layered waterproof outerwear protects a person from cold ground moisture | • Use visual aids and diagrams to study the components of a solid ground floor • Discuss the specific functions of sub-grade, hardcore compaction, sand blinding, DPM sheet, and concrete slab • Label a section diagram of a solid ground floor showing all structural layers | What are the essential functional layers of a solid ground floor? | • Grade 10 Building Construction Curriculum Design • Structural floor diagrams • Sample DPM, BRC mesh • Visual aids | • Diagram labeling • Written tests • Oral questions |  |
|  | 3 | Building Construction Processes | Ground Floors | By the end of the lesson, the learner should be able to: a. Illustrate the construction details of a solid ground floor b. Sketch a clear cross-sectional detail of a solid ground floor incorporating wall junction details c. Relate detailed floor drawing to real life the way an architect draws precise anatomical plans before surgical procedures | • Use drawing instruments to sketch cross-sectional construction details of a solid ground floor • Indicate hardcore packing (150–300 mm), sand blinding (50 mm), DPM, concrete slab (100–150 mm), and floor finish • Display drawings for peer review and teacher evaluation | How do we represent solid ground floor components in technical detail drawings? | • Grade 10 Building Construction Curriculum Design • Drawing instruments • Plain drawing papers • Sample floor detail blueprints | • Drawing assessment • Peer evaluation • Checklists |  |
|  | 4 | Building Construction Processes | Ground Floors | By the end of the lesson, the learner should be able to: a. Outline the step-by-step procedure for constructing a solid ground floor b. Describe site clearing, hardcore packing, blinding layer, termite treatment, DPM laying, and BRC placement c. Connect sequential floor preparation to real life the way a baker prepares a baking tin with oil and paper before pouring cake batter | • Engage a resource person or watch video demonstrations on solid ground floor construction procedures • Outline steps: soil compaction, hardcore laying and ramming, sand blinding, anti-termite chemical application, DPM overlap, and reinforcement placement • Discuss safety precautions when handling chemical anti-termite treatments and heavy ramming equipment | What sequential steps ensure a durable and damp-free solid ground floor? | • Grade 10 Building Construction Curriculum Design • Video clips / Resource person • Step-by-step procedure charts | • Written assignments • Oral questions • Checklists |  |
|  | 5 | Building Construction Processes | Ground Floors | By the end of the lesson, the learner should be able to: a. Describe concrete mixing, placing, compacting, and curing for solid ground floor slabs b. Demonstrate proper safety measures and teamwork during ground floor slab construction c. Relate concrete curing to real life the way keeping a wound moist under dressing speeds up proper healing | • Discuss mix ratios (e.g., 1:2:4) and thickness gauges for ground floor concrete slabs • Demonstrate compaction using tamper boards or poker vibrators, and floating for smooth surface finish • Explain curing methods (ponding, wet hessian bags, polythene sheeting) to achieve full concrete strength | Why is compaction and curing critical during solid ground floor slab construction? | • Grade 10 Building Construction Curriculum Design • Tamper boards, wooden floats • Polythene sheets, water • PPEs | • Oral assessment • Written tests • Observation |  |
| 2 | 1 | Building Construction Processes | Ground Floors | By the end of the lesson, the learner should be able to: a. Construct a mock-up model or full-scale section of a solid ground floor slab b. Lay hardcore, sand blinding, DPM sheet, and place concrete using appropriate tools and materials c. Relate practical floor construction to real life the way road builders construct solid foundation bases before laying asphalt | • In groups, prepare a small trench/box to lay sub-base materials (hardcore, sand blinding, DPM sheet) • Batch, mix, place, level, and float a concrete slab section observing safety protocols • Apply water curing to the laid concrete slab section and record daily observations | How do we practically execute the construction of a solid ground floor slab? | • Grade 10 Building Construction Curriculum Design • Murram, hardcore, sand • DPM, cement, ballast, water • Jembes, spades, floats | • Practical evaluation • Observation • Rubric scoring |  |
|  | 2 | Building Construction Processes | Ground Floors | By the end of the lesson, the learner should be able to: a. Appreciate the structural and environmental importance of solid ground floors in buildings b. Evaluate how solid ground floors prevent rising damp, pest intrusion, and structural settlement c. Connect ground floor integrity to real life the way a solid shoe sole keeps moisture and sharp objects away from feet | • Discuss the consequences of omitted DPM or poorly compacted hardcore (floor cracks, rising damp, peeling paint) • Conduct a gallery walk evaluating completed ground floor models/drawings in class • Write summary reflection notes on the structural importance of solid ground floors | Why is a properly constructed ground floor vital for building longevity and hygiene? | • Grade 10 Building Construction Curriculum Design • Case study pictures (flooding/dampness) • Student floor models | • Reflection report • Oral questions • Checklists |  |
|  | 3 | Building Services | Plumbing Tools and Equipment | By the end of the lesson, the learner should be able to: a. Identify hand tools and equipment used in plumbing works b. Classify plumbing tools into cutting, forming, holding, bending, threading, and caulking tools c. Relate specialized plumbing tools to real life the way a surgeon chooses specific instruments for precise surgical operations | • Conduct a gallery walk to observe and identify realia or pictures of plumbing tools (die stock, pipe vice, pipe wrench, reamer, file, anvil, pipe cutter, pipe bender, caulking tool) • Group tools according to functional categories (cutting, holding, bending, threading) • Sketch key plumbing tools and write down their specific uses | What tools and equipment are essential for carrying out plumbing works? | • Grade 10 Building Construction Curriculum Design • Pipe wrench, pipe vice, pipe cutter • Die stock, reamer, pipe bender • Realia / Tool display board | • Identification test • Observation • Checklists |  |
|  | 4 | Building Services | Plumbing Tools and Equipment | By the end of the lesson, the learner should be able to: a. Explain safety precautions to observe when handling plumbing tools and equipment b. Demonstrate correct personal protective equipment (PPE) and safe tool handling techniques c. Connect tool safety to real life the way a chef handles sharp knives cautiously to prevent workplace injuries | • Search print or digital media for safety rules when handling sharp, heavy, or mechanical plumbing tools • Demonstrate proper setup of pipe vices, secure gripping with Stillson wrenches, and safe pipe cutter operation • Create safety posters highlighting precautions for threading, cutting, and pipe bending operations | Why is safety adherence necessary when operating plumbing tools and equipment? | • Grade 10 Building Construction Curriculum Design • Safety guidelines chart • PPEs (gloves, goggles, boots) • Plumbing tools | • Safety observation • Poster evaluation • Oral questions |  |
|  | 5 | Building Services | Plumbing Tools and Equipment | By the end of the lesson, the learner should be able to: a. Perform basic tasks using plumbing tools including pipe holding, cutting, and reaming b. Use a pipe vice, pipe cutter, and reamer to cut and deburr a given pipe sample accurately c. Relate pipe deburring to real life the way smoothing a rough cut fingernail prevents snagging on clothing | • Secure a pipe sample in a pipe vice and mark designated cutting lengths • Operate a pipe cutter to make a clean square cut, then use a pipe reamer/file to remove internal burrs • Inspect cut pipe ends for squareness and smoothness | How do we safely hold, cut, and deburr pipes using basic plumbing tools? | • Grade 10 Building Construction Curriculum Design • GI / PVC pipe samples • Pipe vice, pipe cutter, reamer • Measuring tape, tri-square | • Practical performance • Quality inspection • Checklists |  |
| 3 | 1 | Building Services | Plumbing Tools and Equipment | By the end of the lesson, the learner should be able to: a. Perform pipe threading and bending tasks using die stocks and mechanical pipe benders b. Form accurate external threads on metallic pipes and execute controlled bends on pipe samples c. Connect pipe threading precision to real life the way screw threads on a bottle cap must match the bottle mouth for a tight seal | • Set up a die stock with appropriate dies and apply cutting oil to thread a GI pipe end • Operate a hydraulic/manual pipe bender to bend a pipe sample to a specified angle • Clean and inspect thread depth and bend profile for cracks or kinks | How are die stocks and pipe benders used to prepare pipes for installation? | • Grade 10 Building Construction Curriculum Design • Die stock set, cutting oil • Pipe bender, GI pipes • Pipe vice, wire brush | • Practical rubric • Observation • Product evaluation |  |
|  | 2 | Building Services | Plumbing Tools and Equipment | By the end of the lesson, the learner should be able to: a. Carry out care and maintenance of plumbing tools and equipment at the workplace b. Perform cleaning, oiling, sharpening, rust prevention, and safe storage of plumbing tools c. Relate tool maintenance to real life the way regular car servicing prevents mechanical breakdowns and extends vehicle life | • Demonstrate cleaning dirt and metallic swarf from die stocks, pipe cutters, and files using wire brushes • Apply lubricating oil to moving parts of pipe vices, wrenches, and die stock ratchets • Store tools systematically in designated toolboxes, racks, or shade boards | Why is routine care and maintenance of plumbing tools important in the workshop? | • Grade 10 Building Construction Curriculum Design • Wire brushes, cleaning rags • Lubricating oil, anti-rust spray • Tool cabinet / Shadow board | • Practical maintenance score • Observation • Checklists |  |
|  | 3 | Building Services | Plumbing Materials | By the end of the lesson, the learner should be able to: a. Identify materials used in plumbing works b. Classify plumbing materials into metallic, plastic, ceramic, and concrete categories c. Relate material selection to real life the way clothing fabrics are chosen based on thermal comfort and durability | • Conduct a gallery walk to observe assorted plumbing materials (Galvanized Iron, Copper, PVC, CPVC, PPR, Ceramic, Concrete pipes) • Categorize materials into metallic (GI, copper), plastics (PVC, CPVC, PPR), and vitrified/earthenware (ceramic, concrete) • Create an identification chart summarizing common plumbing materials and their physical appearance | What primary materials are used in manufacturing plumbing pipes and fixtures? | • Grade 10 Building Construction Curriculum Design • Pipe samples (GI, PVC, PPR, Copper) • Ceramic sanitaryware samples • Gallery walk display cards | • Identification test • Table completion • Oral questions |  |
|  | 4 | Building Services | Plumbing Materials | By the end of the lesson, the learner should be able to: a. Describe the physical and chemical properties of materials used in plumbing b. Explain corrosion resistance, thermal expansion, malleability, ductility, pressure rating, and chemical inertness c. Connect corrosion resistance to real life the way plastic food containers do not rust when exposed to moist liquids | • Search print or digital media for information on properties of plumbing materials • Compare GI vs PVC/PPR regarding rust/corrosion, hot water tolerance, flexibility, weight, and jointing ease • Tabulate key properties (corrosion resistance, thermal limit, flexibility, cost) for each material | How do the physical and chemical properties of plumbing materials dictate their performance? | • Grade 10 Building Construction Curriculum Design • Digital devices • Comparative property charts • Reference textbooks | • Written assignments • Oral questions • Checklists |  |
|  | 5 | Building Services | Plumbing Materials | By the end of the lesson, the learner should be able to: a. Match different plumbing materials to their specific functional uses in building construction b. Select appropriate plumbing materials for cold water supply, hot water distribution, drainage, and sanitary appliances c. Relate material matching to real life the way heavy boots are selected for muddy sites while light shoes suit indoor running | • Analyze building scenarios and match materials (e.g., PPR for hot water, PVC for drainage/waste, GI for high-impact external supply) • Discuss factors influencing material selection: pressure rating, fluid temperature, cost, environmental exposure, and local regulations • Present group recommendations for plumbing material selection in a sample residential house | How do we select the right plumbing material for specific building service applications? | • Grade 10 Building Construction Curriculum Design • Building plumbing plans • Material selection matrix • Samples of pipes & fittings | • Matching exercise • Group presentation • Written tests |  |
| 4 | 1 | Building Services | Plumbing Materials | By the end of the lesson, the learner should be able to: a. Evaluate the health, economic, and environmental impact of plumbing material selection b. Explain toxicity considerations (lead-free pipes) and sustainability in plumbing material selection c. Connect lead-free plumbing to real life the way clean food packaging ensures consumers receive uncontaminated food | • Discuss health hazards associated with toxic piping materials (e.g., lead solder or unsafe plastics) • Evaluate recyclability and environmental footprint of metallic versus plastic plumbing materials • Write summary reflection notes on selecting safe, durable, and eco-friendly plumbing materials | Why is health safety and environmental impact critical when choosing plumbing materials? | • Grade 10 Building Construction Curriculum Design • Environmental impact articles • Safety standards documentation | • Written reflection • Oral questions • Portfolio |  |
|  | 2 | Building Services | Pipework | By the end of the lesson, the learner should be able to: a. Identify types of pipes and pipe fittings used in plumbing b. Describe the functions of elbows, tees, sockets, reducers, unions, nipples, bends, and valves c. Relate pipe fittings to real life the way road junctions and roundabouts direct traffic in different directions | • Conduct a gallery walk identifying plumbing fittings (elbows, tees, sockets, reducers, unions, hex nipples, gate valves, bib taps) • Sketch fittings and explain their specific roles (changing direction, joining different sizes, branching, controlling flow) • Display an organized tray of fittings labeled with correct technical names | What types of pipe fittings are used to change direction, branch, or connect plumbing pipes? | • Grade 10 Building Construction Curriculum Design • Fitting display tray (elbows, tees, sockets) • Valves, nipples, unions • Visual aids | • Fitting identification • Diagram sketching • Oral questions |  |
|  | 3 | Building Services | Pipework | By the end of the lesson, the learner should be able to: a. Read and interpret working drawings for plumbing pipework b. Identify standard plumbing symbols for pipes, fittings, valves, and sanitary fixtures on floor plans c. Connect symbol interpretation to real life the way drivers read standardized road signs to navigate unfamiliar highways | • Study working drawings and plumbing schematic diagrams for simple building layouts • Identify standard graphical symbols representing cold water pipes, hot water pipes, valves, taps, elbows, tees, and drainage traps • Trace pipe routes from main water intake to distribution points on a working drawing | How do technical symbols on plumbing working drawings guide pipework installation on site? | • Grade 10 Building Construction Curriculum Design • Plumbing working drawings • Standard plumbing symbol charts • Drawing boards | • Symbol identification • Drawing interpretation • Checklists |  |
|  | 4 | Building Services | Pipework | By the end of the lesson, the learner should be able to: a. Describe the procedures for preparing pipe joints in plumbing b. Explain jointing procedures for threaded GI pipes, solvent-welded PVC pipes, and heat-fused PPR pipes c. Relate joint sealant application to real life the way wrapping a lid thread with Teflon tape prevents liquid leakage | • Discuss jointing methods: thread sealant/hemp on GI pipes, solvent cement on PVC, heat fusion on PPR, and compression couplings • Outline step-by-step joint preparation: measuring, marking, cutting, deburring, cleaning, applying sealant/heat, and joining • Emphasize safety protocols when handling solvent cements, open gas flames, or electric heating sockets | What steps ensure leak-proof pipe jointing across different plumbing pipe materials? | • Grade 10 Building Construction Curriculum Design • Thread tape, solvent cement, hemp • PPR fusion machine, GI/PVC pipes • Safety instruction charts | • Written assignments • Oral questions • Checklists |  |
|  | 5 | Building Services | Pipework | By the end of the lesson, the learner should be able to: a. Prepare threaded joints on Galvanized Iron (GI) pipes according to working drawing specifications b. Cut, thread, apply Teflon tape/hemp, and couple GI pipes securely using pipe wrenches c. Relate firm wrench tightening to real life the way tightening wheel nuts securely ensures a car wheel does not wobble | • Measure and cut GI pipe samples to specified lengths using pipe vice and pipe cutter • Form clean external threads using a die stock, apply Teflon tape or thread sealant, and screw on sockets/elbows using pipe wrenches • Check joint alignment, tightness, and squareness against the drawing | How do we practically prepare leak-proof threaded joints on GI pipes? | • Grade 10 Building Construction Curriculum Design • GI pipes, die stock set • Pipe wrenches, vice, Teflon tape • Working drawing printouts | • Practical jointing rubric • Product evaluation • Observation |  |
| 5 | 1 | Building Services | Pipework | By the end of the lesson, the learner should be able to: a. Prepare solvent-welded PVC joints and heat-fused PPR pipe joints b. Demonstrate correct cleaning, solvent application, PPR heating time, and socket insertion depth c. Connect heat fusion joining to real life the way melting wax seals two paper edges together into one solid bond | • Clean PVC pipe ends, apply PVC solvent cement uniformly, push into fitting with a quarter turn, and hold firm • Operate a PPR heat fusion machine to heat PPR pipe and fitting simultaneously for recommended seconds, then join smoothly without twisting • Inspect internal joint bore to ensure no excess melted material blocks the water passage | How are modern plastic pipes jointed using solvent cement and thermal fusion techniques? | • Grade 10 Building Construction Curriculum Design • PVC pipes, solvent cement • PPR pipes & fittings, PPR fusion machine • Clean rags, timer, PPEs | • Practical performance • Joint quality inspection • Rubric scoring |  |
|  | 2 | Building Services | Pipework | By the end of the lesson, the learner should be able to: a. Explain the procedures and mathematical calculations for pipe bending b. Calculate bend radius, arc length, and mark accurate bend positions on pipe samples c. Relate bend radius calculations to real life the way a railway track curve is calculated smoothly so trains do not derail | • Discuss why pipe bending is preferred over fittings in certain routes (reduces friction loss, saves fitting costs) • Calculate bend radius (R) and arc length for 45° and 90° bends using formula L=θ/360×2πR • Mark precise bending start, center, and end points on pipe samples using measuring tape and scriber/marker | How do we calculate bend angles and mark precise bending positions on plumbing pipes? | • Grade 10 Building Construction Curriculum Design • Calculation worksheets • Measuring tape, markers • Pipe bending charts | • Calculation test • Marking accuracy • Oral questions |  |
|  | 3 | Building Services | Pipework | By the end of the lesson, the learner should be able to: a. Perform pipe bending on metallic and plastic pipes using appropriate tools and equipment b. Execute 45° and 90° pipe bends using hydraulic/manual pipe benders without flattening or cracking the pipe c. Relate smooth pipe bending to real life the way a garden hose bends gently without kinking to maintain uninterrupted water flow | • Set up a mechanical/hydraulic pipe bender with correct former size matching the pipe diameter • Insert marked pipe into former, apply steady bending pressure until the target angle (45° or 90°) is reached on the protractor • Check the bent pipe for cross-sectional roundness, accuracy of angle, and freedom from cracks/kinks | How do we practically bend plumbing pipes to given angles without causing structural defects? | • Grade 10 Building Construction Curriculum Design • Hydraulic / manual pipe benders • GI and copper pipe samples • Angle protractors, tri-squares | • Practical bending rubric • Accuracy check • Observation |  |
|  | 4 | Building Services | Pipework | By the end of the lesson, the learner should be able to: a. Observe safety measures and operational standards when executing pipework tasks b. Demonstrate correct handling of hot fusion tools, sharp threaders, and high-pressure testing setups c. Connect workplace safety rules to real life the way wearing seatbelts protects vehicle occupants during sudden stops | • Discuss hazards in pipework: hot PPR heating elements, sharp metal swarf, high-pressure pipe bursts, chemical solvent fumes • Demonstrate safe workshop practices: wearing heat-resistant gloves, adequate ventilation, secure pipe clamping • Conduct a safety audit during practical pipe jointing and bending sessions | What safety protocols must be enforced during pipe cutting, threading, bending, and jointing? | • Grade 10 Building Construction Curriculum Design • Safety checklists • PPEs (gloves, goggles, aprons) • Workshop instruction boards | • Safety audit checklist • Observation • Oral questions |  |
|  | 5 | Building Services | Pipework | By the end of the lesson, the learner should be able to: a. Construct a basic plumbing pipework assembly combining threaded, solvent, or fused joints according to a working drawing b. Assemble a functional pipe frame incorporating elbows, tees, valves, and taps c. Relate complete pipework assembly to real life the way assembling an electrical circuit powers all light fixtures in a house | • In groups, read a working drawing for a pipework assembly incorporating 90° bends, tees, valves, and taps • Measure, cut, thread/fuse, bend, and assemble pipes into a complete frame mounted on a testing board • Align pipework parallel/perpendicular to wall lines using spirit levels | How do we assemble a multi-joint plumbing pipework system from a technical drawing? | • Grade 10 Building Construction Curriculum Design • GI, PVC, PPR pipes & fittings • Pipe wrenches, fusion machine • Working drawings, spirit levels | • Practical project rubric • Product evaluation • Group assessment |  |
| 6 | 1 | Building Services | Pipework | By the end of the lesson, the learner should be able to: a. Conduct pressure testing and leak detection on completed pipework assemblies b. Connect completed pipework to a water pump/line, pressurize the system, and inspect all joints for leaks c. Relate pressure testing to real life the way a bicycle tire is submerged in water to detect tiny air bubbles from punctures | • Fill the constructed pipe assembly with water, bleed air out, and pressurize using a hand testing pump • Inspect every joint, thread, and bend for water weeping or pressure drop on the test gauge • Drain, dismantle, re-seal, and re-test any joint showing leakage | How do we test plumbing pipework for structural integrity and leak-proof operation? | • Grade 10 Building Construction Curriculum Design • Hydraulic hand test pump • Water supply, pressure gauge • Towels, spanners, sealant | • Practical testing score • Observation • Checklists |  |
|  | 2 | Building Services | Pipework | By the end of the lesson, the learner should be able to: a. Appreciate the importance of proper pipework and plumbing services in building construction b. Evaluate how quality pipework prevents structural water damage, sanitation hazards, and water loss c. Connect leak-free plumbing to real life the way clean blood vessels ensure healthy circulation throughout the human body | • Discuss the socio-economic and structural impacts of leaking pipes in buildings (mould growth, concrete decay, high water bills) • Review completed pipework projects in class, highlighting quality jointing, clean bends, and neat mounting • Write summary reflection notes on professional plumbing standards in modern building construction | Why is high quality pipework critical for building sanitation, durability, and water conservation? | • Grade 10 Building Construction Curriculum Design • Completed pipework assemblies • Case study photos of water damage | • Reflection report • Oral questions • Portfolio |  |
|  | 3 | Building Construction Processes | Strand 3.0 Review | By the end of the lesson, the learner should be able to: a. Summarize key concepts across Strand 3.0: Building Construction Processes b. Answer consolidation questions on concreting, strip foundations, timbering, foundation walling, and ground floors c. Relate systematic process review to real life the way a building inspector verifies every structural stage before granting occupancy | • Review mind-maps covering concrete mixing/curing, strip foundation setting out (3-4-5 method), trench timbering, wall bonding, and ground floor layering • Work in pairs to quiz each other on building code requirements and practical procedures • Clarify challenging concepts with guidance from the teacher | What are the core structural processes involved in building construction from foundation to ground floor? | • Grade 10 Building Construction Curriculum Design • Review mind-maps • Question cards • Building Code | • Written review test • Oral quiz • Self-assessment |  |
|  | 4 | Building Services | Strand 4.0 Review | By the end of the lesson, the learner should be able to: a. Summarize key concepts across Strand 4.0: Building Services b. Respond accurately to questions on plumbing tools, material properties, pipe fitting functions, jointing, and pipe bending c. Connect plumbing knowledge to real life the way an environmental health officer inspects building sanitation systems | • Review summary charts covering plumbing tool care, material selection, pipe fitting symbols, thread cutting, fusion jointing, and bend calculations • Solve practice pipe bending calculations and identify plumbing drawing symbols • Discuss common practical errors in pipe jointing and tool maintenance | How do plumbing tools, materials, and pipework techniques combine to provide effective building services? | • Grade 10 Building Construction Curriculum Design • Revision question sheets • Symbol charts • Fitting trays | • Written quiz • Diagram identification • Checklists |  |
|  | 5 | Building Construction Processes & Services | Integrated Portfolio & Project Review | By the end of the lesson, the learner should be able to: a. Synthesize integrated concepts across Strands 3.0 and 4.0 b. Compile and organize working drawings, CAD shape outputs, ground floor sketches, and plumbing project logs into a term portfolio c. Relate portfolio organization to real life the way a professional contractor presents a project dossier to clients | • Organize all term drawings, practical job cards, site preparation reports, and project reflection journals into individual e-portfolios or physical portfolios • Peer-evaluate portfolio completeness against established assessment rubrics • Identify personal focus areas for final end-of-term examination preparation | How does our accumulated project work demonstrate mastery of building construction processes and services? | • Grade 10 Building Construction Curriculum Design • Student portfolios • Assessment rubrics • Drawing sheets | • Portfolio assessment • Peer review • Checklists |  |
| 7 |  |  |  | MID-TERM BREAK (7 October 2026 – 11 October 2026) | MID-TERM BREAK (7 October 2026 – 11 October 2026) |  |  |  |  |
| 8 | 1 | Building Construction Processes & Services | Comprehensive Theory Revision | By the end of the lesson, the learner should be able to: a. Apply critical thinking to solve structured theory questions on building construction processes and plumbing services b. Analyze complex construction scenarios involving foundation failure, dampness prevention, pipe material selection, and pipework layouts c. Relate biological/technical problem solving to real life the way a structural engineer diagnoses building cracks to recommend repairs | • Solve past examination questions covering ground floors, concreting mix ratios, timbering types, plumbing tools, and pipe bending calculations • Present group solutions on the chalkboard for teacher feedback and discussion • Review exam technique, technical terminology, and clear diagram sketching | How do we structure clear, accurate answers for written examinations in Building Construction? | • Grade 10 Building Construction Curriculum Design • Past question papers • Revision workbooks • Chalkboard | • Practice paper score • Written answers • Oral feedback |  |
|  | 2 | Building Construction Processes & Services | Practical Skills Revision | By the end of the lesson, the learner should be able to: a. Demonstrate essential trade practical skills required for end-of-term assessment b. Practice pipe jointing, pipe bending, setting out, tool maintenance, and technical drawing under timed conditions c. Relate trade practical precision to real life the way a certified mason levels a corner wall so the entire building stands straight | • Recalibrate practical techniques: setting out 3-4-5 right angles, threading GI pipes, fusing PPR sockets, and sketching isometric floor details • Inspect tool cutting edges, pipe vice alignments, and drawing set instruments for test readiness • Review practical scoring rubrics and safety requirements | What key criteria determine high performance during trade practical assessments in building construction? | • Grade 10 Building Construction Curriculum Design • Plumbing tools, pipes • Drawing sets, measuring tapes • Practical rubrics | • Practical checklist • Rubric scoring • Peer evaluation |  |
|  | 3 | Building Construction Processes & Services | End of Term Written Assessment (Theory) | By the end of the lesson, the learner should be able to: a. Complete written theory examination questions covering Grade 10 Term 3 Building Construction topics b. Demonstrate clear mastery of ground floor details, plumbing tools, plumbing materials, and pipework procedures c. Value personal integrity and honesty during examinations the way a registered clerk of works upholds ethical building standards | • Sit for the written End-of-Term Building Construction Theory Examination under supervised test conditions | How effectively can we demonstrate theoretical building construction knowledge under exam conditions? | • Grade 10 Term 3 Examination papers • Answer booklets | • Written examination |  |
|  | 4 | Building Construction Processes & Services | End of Term Practical Assessment | By the end of the lesson, the learner should be able to: a. Complete practical examination tasks covering ground floor sketching, pipe jointing, pipe bending, and tool maintenance b. Apply technical construction skills accurately according to working drawing specifications under timed test conditions c. Relate practical competency to real life the way a licensed plumber passes trade tests before certifying building water systems | • Perform practical assessment tasks at designated workshop stations (pipe cutting/threading, PPR fusion jointing, pipe bending, tool identification) • Submit completed practical test specimens and job cards for evaluation | How well can we execute practical building construction and plumbing tasks under evaluation? | • Examination pipe specimens • Die stocks, pipe benders • Practical job cards, PPEs | • Practical examination • Rubric scoring |  |
|  | 5 | Building Construction Processes & Services | Assessment Feedback | By the end of the lesson, the learner should be able to: a. Review performance in the written theory and practical End-of-Term Building Construction Examinations b. Identify individual strengths and correct specific trade learning misconceptions c. Connect constructive feedback to real life the way a master craftsman polishes raw woodwork to eliminate surface flaws | • Go through marked examination scripts and practical test job cards with the teacher • Discuss standard marking schemes, correct calculation/jointing errors, and rewrite incorrect responses | How can examination feedback guide our future skill development in Senior School Building Construction? | • Marked examination scripts • Marking schemes • Practical rubrics | • Script correction review • Portfolio update |  |
| 9 | 1 | Building Construction Processes & Services | Practical Project Evaluation | By the end of the lesson, the learner should be able to: a. Evaluate ground floor section models and plumbing pipework assemblies constructed during Term 3 b. Assess structural stability, joint leak-proof quality, bend accuracy, and workmanship against standard trade rubrics c. Relate project evaluation to real life the way a quality auditor inspects finished housing units before issuing compliance certificates | • Display completed ground floor mock-up models and pressurized pipework frames in the workshop • Demonstrate pressure test holding on pipework assemblies and explain construction steps • Receive final project scores and feedback from the teacher and peer panel | How effectively do our constructed models and pipe assemblies meet professional building standards? | • Student project assemblies • Testing pump, pressure gauge • Project evaluation rubrics | • Project rubric score • Peer evaluation • Practical inspection |  |
|  | 2 | Building Construction Processes & Services | Portfolio Finalization & Reflection | By the end of the lesson, the learner should be able to: a. Consolidate and finalize individual Building Construction learning portfolios for Grade 10 b. Reflect on personal progress in technical drawing, site preparation, masonry walling, and plumbing services c. Relate portfolio compilation to real life the way a building contractor archives project records for future reference and licensing | • Organize all evaluated drawings, CAD outputs, site logs, practical job cards, and reflection journals into finalized portfolios • Write a self-reflection summary highlighting technical competencies acquired across Grade 10 • Submit completed portfolios for final term assessment scoring | How does our portfolio reflect our overall growth in building construction knowledge and practical trade skills? | • Student portfolios • Portfolio evaluation rubrics • Reflection sheets | • Portfolio score • Self-reflection entry |  |
| 3 | 3 | Building Construction Processes & Services | Workshop Clean-up, Tool Care & Safety Check | By the end of the lesson, the learner should be able to: a. Clean, oil, sharpen, and safely store all construction tools, plumbing equipment, and drawing instruments b. Demonstrate responsibility in maintaining workshop benches, pipe vices, and storage cabinets before school closure c. Relate workshop hygiene to real life the way a well-maintained construction site prevents accidents and protects expensive machinery | • Clean drawing instruments, T-squares, plumbing dies, pipe wrenches, vices, and masonry trowels • Apply protective oil on metallic tool surfaces to prevent rusting during vacation • Inventory all tools, store them systematically in tool cabinets, and clean workshop floors | Why is proper tool care, oiling, inventory, and workshop sanitation essential before school closure? | • Tool cabinets, shadow boards • Cleaning rags, lubricating oil • Tool inventory checklists | • Practical cleanup score • Observation • Workshop inspection |  |
|  | 4 | Building Construction Processes & Services | Term Closing & Vacation Assignment | By the end of the lesson, the learner should be able to: a. Complete end-of-term academic records and performance reports for Grade 10 Building Construction b. Receive vacation study guidelines and project assignments for upcoming Grade 11 construction topics c. Relate organized term conclusion to real life the way a site manager completes daily logs before handing over a construction site | • Receive finalized term marks, practical scores, and vacation study assignment sheets • Discuss expectations for observing building construction projects in the local community during holidays • Complete term closing procedures | How can we continue observing and learning building construction practices in our local communities during holidays? | • Term progress reports • Vacation assignment sheets • Reference book lists | • Report issuance • Observation |  |
|  | 5 | Building Construction Processes & Services | School Closing | By the end of the lesson, the learner should be able to: a. Finalize all school closing protocols and departure arrangements b. Demonstrate responsibility and discipline during end-of-term departure c. Value continuous technical learning and personal safety in daily life outside school | • Participate in final school closing assembly and departure activities | How do we apply technical knowledge and safety awareness in our daily lives outside school? | • School closing guidelines | • General observation |  |